CENTRAL COUNTY  FIRE DEPARTMENT

# HIGH-PILED COMBUSTIBLE STORAGE INFORMATION

# California Fire Code Chapter 23

Business Name:

Business Address:

1.	Commodity class: __________________

(If commodity is plastic, fill out Attachment A on reverse side of page)

2.	Description of storage:

(If additional space is needed, please attach additional page(s))

3.	Maximum height of storage: ________________________ ft.

4.	Method of storage:  (check all that apply)

Encapsulated in plastic			Non-encapsulated

Wooden pallets				Plastic pallets

On racks with solid shelves		On racks without solid shelves

Bin box					Solid pile

5.	Type of racks:

Wooden pallets		Double row		Plastic pallets

6.	Area of storage:

0 – 500 sq. ft.				12,001 – 20, 000 sq. ft.

501 – 2,500 sq. ft.				20,001 – 300,000 sq. ft.

2,501 – 12,000 sq. ft.

7.	Fire Sprinkler information (if building is equipped):

a)  Sprinkler density _______________________

b)  Rack sprinklers?		YES		NO

c)  Temperature of sprinkler head in:   Ceiling ________  Racks_______

d)  Fire hose racks?		YES		NO

8.	Building height to bottom of roof? _____________ ft.

9.	Distance from top of storage to fire sprinkler deflector? ______ ft.

10.	Smoke vents?	YES	 NO 	 Ratio _______:________ sq. ft.

11.	Draft curtains?	YES	 NO	 ________________ sq. ft.

12.	Aisle width between racks and storage: _____________ ft.

13.	Smoke detection system?		   YES		NO

14.	Maximum volume in cubic feet per pile:

50,000 cu. ft.     100,000 cu. ft.    200,000 cu. ft.     400,000 cu. ft.

15.	Access roadways within 150 feet of all portions of exterior walls?

YES			NO

16.	Access doors provided every 100 L.F. on exterior walls that face access roadways?		YES			NO

Signature: _____________________	Telephone #:_____________________

Business Name:

1.	Group type of plastics? (see list below)

A			B			C

2.	Percentage of plastic in storage? ___________ %

3.	If group type is “A” check each item below that applies to your commodity.

Expanded		Non-expanded	Free flowing Class IV

If expanded, how is the plastic packaged? (

Exposed		Cartoned

If expanded, how is the plastic piled?

Stable			Unstable

If non-expanded, how is the plastic piled?

Stable			Unstable

If non-expanded and stable, how is the plastic packaged?

Solid unit load	Cartoned		Exposed

Group A			Group B (Class IV)	Group C (Class III)

| ABS (Acrylonitrile-Butadiene- Styrene Copolymer | Cellulosics (Cellulose Acetate, Cellulose Acetate Butyrate, Ethyl Cellulose) | Fluroplastics (PCTFE-Polychlor-trifluoroethylene; PTFE- Poly- terrafluorethylene) |
| --- | --- | --- |
| Acrylic (Polymethyl Methacrylate) | Chloroprene Rubber | Melamine (Melamine Formaldehyde) |
| Acetal (Polyformaldahyde) | Fluoroplastics (ECTFB- Ethylene Chlorotrifloroethylene Copolymer: ETFE-Ethylene | Phenolic |
| Butyl Rubber |  |  |
| EPDM (Ethylene-Propylene Rubber) | Tetrafluorethylene Copolymer, FEP-Fluorinated Ethylene-Propylene Copolymer | PVC (Polyvinyl Chloride-rigid or lightly plasticized, e.g., pipe, pipe fittings) |
| FRP (Fiberglass Reinforced Polyester) | Natural Rubber (not expanded) | PVDC (Polyvinyl Chloride) |
| Natural Rubber (if expanded) | Nylon (Nylon 6, Nylon 6/6) | PVF (Polyvinyl Fluoride) |
| Nitrile Rubber (Acrylonitrile-Butadiene Rubber) | Silicone Rubber | PVDF (Polyvinylidene Fluoride) |
| PET (Thermoplastic Polyester) |  | Urea (Urea Formaldehyde) |
| Polybutadiene |  |  |
| Polycarbonate |  |  |
| Polyester Elastomer |  |  |
| Polyethylene |  |  |
| Polypropylene |  |  |
| Polystyrene |  |  |
| Polyurethane |  |  |
| PVC (Polyvinyl Chloride-highly plasticized, e.g. coated fabric, unsupported film) |  |  |
| SAN (Styrene Acrylonitrile) |  |  |
| SBR (Styrene-Butadine Rubber) |  |  |

# Text boxes

# Attachment A – PLASTICS

HIGH-PILED COMBUSTIBLE STORAGE – CFC Chapter 23